## Sheet1
DAILY DRAWAL SCHEDULE (IN MW)
FOR THE DATE (DD.MM.YY) :- | [6 empty] | 28.11.2020 | [8 empty] | FOR THE DATE (DD.MM.YY) :- | [9 empty] | 28.11.2020
FROM :- |  |  |  | CESC | [11 empty] | FROM :- | [7 empty] | CESC
TO :- STATE LOAD DESPATCH CENTRE (WB), WBSETCL | [15 empty] | TO :- STATE LOAD DESPATCH CENTRE (WB), WBSETCL
TIME OF ORIGIN :- |  |  |  |  | 12:00 |  |  | DATE | 2020-11-27 | [6 empty] | TIME OF ORIGIN :- | [7 empty] | 12:00 | [5 empty] | DATE |  | 2020-11-27
INITIAL / REFRESHED / REVISED :- | [6 empty] | Initial | [8 empty] | INITIAL / REFRESHED / REVISED :- | [9 empty] | Initial
Duration |  | Proposed injection by entity in MW from Own generating station | [9 empty] | Proposed Injection by the entity from own availability for other entities* | Injection of power on behalf of other entities as per 5.3(ix) | Total injection (Outside own area of supply) |  | Duration | [5 empty] | Projected Drawal (MW) From | [17 empty] | Projected Demand (MW) |  |  | Drawal Schedule for Open Access Customer (OAC) |  |  |  | Export through trading | [9 empty] | Net requirement of the Licensee for drawal
|  | Budge-Budge |  | Titagarh |  | Southern |  | New Cossipore |  | TOTAL | [7 empty] | Generating- Company |  |  |  |  | Dist. Licensee (State) | Committed inter-state power supply under sub-section(5) of section 64 |  |  | Intra-state open access |  |  | Electricity Trader(including distribution licensee in Trading mode) | [8 empty] | Total | Without Restriction | With Restriction | Reason of Restriction | Proposed drawal of OAC | Source of O.A. Supply | Restricted to, if any |  | Outside State | [6 empty] | Within State
Hrs | Block | Decl.Avbl.(S.O) |  | Decl.Avbl.(S.O) |  | Decl.Avbl.(S.O) |  | Decl.Avbl.(S.O) |  | Decl.Avbl.(S.O) | [5 empty] | Hrs | Block | Budge - budge | Southern | Titagarh | New - Kosipur | Total | [7 empty] | Inter-State |  |  |  | Intra-State |  |  |  | Total | [6 empty] | Quantum | Reason
|  | Actual | Notional | Actual | Notional | Actual | Notional | Actual | Notional | Actual | Notional | [12 empty] | PP | QQ | Total | PCBL | CPL | HEL | P | Q | R | IEEx | WBSEDCL | DPL | IND POW | OTHERS | [9 empty] | A | B | C | D | E | IEEx | Total | WBSEDCL | DPL | IND POW
(1) | (2) | (3) | [9 empty] | (4) | (5) | (6)=(4+5) |  |  |  | (a) |  |  |  |  | (b) | (c) |  |  | (d) | [11 empty] | (e)=(a+b+c+d) | (f) | (g) | (h) | (I) | (j) | (k) | (l) | (m) | [6 empty] | (n) |  |  | (o)=(e+k+m+n)=(g+m+n+k)
0 | 1 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  | 0 | 1 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 390 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 440 | 700 | 700 | 700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 700
| 2 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 2 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 365 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 415 | 675 | 675 | 675 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 675
| 3 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 3 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 345 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 395 | 655 | 655 | 655 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 655
| 4 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 4 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 325 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 375 | 635 | 635 | 635 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 635
1 | 5 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  | 1 | 5 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 310 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 360 | 620 | 620 | 620 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 620
| 6 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 6 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 350 | 610 | 610 | 610 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 610
| 7 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 7 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 285 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 335 | 595 | 595 | 595 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 595
| 8 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 8 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 280 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 330 | 590 | 590 | 590 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590
2 | 9 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  | 2 | 9 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 275 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 325 | 585 | 585 | 585 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 585
| 10 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 10 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 270 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 320 | 580 | 580 | 580 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 580
| 11 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 11 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 260 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 310 | 570 | 570 | 570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 570
| 12 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 12 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 260 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 310 | 570 | 570 | 570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 570
3 | 13 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  | 3 | 13 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 270 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 320 | 580 | 580 | 580 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 580
| 14 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 14 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 270 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 320 | 580 | 580 | 580 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 580
| 15 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 15 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 270 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 320 | 580 | 580 | 580 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 580
| 16 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 16 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 265 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 315 | 575 | 575 | 575 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 575
4 | 17 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  | 4 | 17 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 265 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 315 | 575 | 575 | 575 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 575
| 18 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 18 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 265 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 315 | 575 | 575 | 575 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 575
| 19 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 19 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 265 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 315 | 575 | 575 | 575 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 575
| 20 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 20 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 270 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 320 | 580 | 580 | 580 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 580
5 | 21 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  | 5 | 21 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 285 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 335 | 595 | 595 | 595 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 595
| 22 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 22 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 285 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 335 | 595 | 595 | 595 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 595
| 23 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 23 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 265 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 315 | 575 | 575 | 575 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 575
| 24 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 24 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 270 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 320 | 580 | 580 | 580 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 580
6 | 25 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  | 6 | 25 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 295 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 345 | 605 | 605 | 605 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 605
| 26 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 26 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 345 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 395 | 655 | 655 | 655 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 655
| 27 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 27 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 390 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 440 | 700 | 700 | 700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 700
| 28 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 28 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 425 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 475 | 735 | 735 | 735 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 735
7 | 29 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  | 7 | 29 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 465 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 515 | 775 | 775 | 775 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 775
| 30 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 30 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 550 | 810 | 810 | 810 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 810
| 31 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 31 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 535 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 585 | 845 | 845 | 845 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 845
| 32 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 32 | 280 | 0 | 0 | 0 | 280 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 870 | 870 | 870 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 870
8 | 33 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  | 8 | 33 | 290 | 0 | 0 | 0 | 290 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 880 | 880 | 880 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880
| 34 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 34 | 320 | 0 | 0 | 0 | 320 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 910 | 910 | 910 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 910
| 35 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 35 | 350 | 0 | 0 | 0 | 350 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 940 | 940 | 940 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 940
| 36 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 36 | 375 | 0 | 0 | 0 | 375 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 965 | 965 | 965 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 965
9 | 37 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  | 9 | 37 | 385 | 0 | 0 | 0 | 385 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 975 | 975 | 975 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 975
| 38 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 38 | 400 | 0 | 0 | 0 | 400 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 990 | 990 | 990 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 990
| 39 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 39 | 415 | 0 | 0 | 0 | 415 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1005 | 1005 | 1005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1005
| 40 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 40 | 435 | 0 | 0 | 0 | 435 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1025 | 1025 | 1025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1025
10 | 41 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  | 10 | 41 | 455 | 0 | 0 | 0 | 455 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1045 | 1045 | 1045 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1045
| 42 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 42 | 460 | 0 | 0 | 0 | 460 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1050 | 1050 | 1050 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1050
| 43 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 43 | 425 | 0 | 0 | 0 | 425 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1015 | 1015 | 1015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1015
| 44 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 44 | 445 | 0 | 0 | 0 | 445 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1035 | 1035 | 1035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1035
11 | 45 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  | 11 | 45 | 375 | 0 | 0 | 0 | 375 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 965 | 965 | 965 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 965
| 46 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 46 | 395 | 0 | 0 | 0 | 395 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 985 | 985 | 985 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 985
| 47 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 47 | 410 | 0 | 0 | 0 | 410 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1000 | 1000 | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1000
| 48 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 48 | 420 | 0 | 0 | 0 | 420 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1010 | 1010 | 1010 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1010
12 | 49 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  | 12 | 49 | 425 | 0 | 0 | 0 | 425 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1015 | 1015 | 1015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1015
| 50 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 50 | 435 | 0 | 0 | 0 | 435 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1025 | 1025 | 1025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1025
| 51 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 51 | 435 | 0 | 0 | 0 | 435 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1025 | 1025 | 1025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1025
| 52 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 52 | 425 | 0 | 0 | 0 | 425 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1015 | 1015 | 1015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1015
13 | 53 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  | 13 | 53 | 445 | 0 | 0 | 0 | 445 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1035 | 1035 | 1035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1035
| 54 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 54 | 415 | 0 | 0 | 0 | 415 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1005 | 1005 | 1005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1005
| 55 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 55 | 390 | 0 | 0 | 0 | 390 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 980 | 980 | 980 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 980
| 56 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 56 | 370 | 0 | 0 | 0 | 370 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 960 | 960 | 960 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 960
14 | 57 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  | 14 | 57 | 350 | 0 | 0 | 0 | 350 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 940 | 940 | 940 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 940
| 58 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 58 | 350 | 0 | 0 | 0 | 350 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 940 | 940 | 940 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 940
| 59 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 59 | 350 | 0 | 0 | 0 | 350 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 940 | 940 | 940 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 940
| 60 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 60 | 340 | 0 | 0 | 0 | 340 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 930 | 930 | 930 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 930
15 | 61 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  | 15 | 61 | 365 | 0 | 0 | 0 | 365 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 955 | 955 | 955 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 955
| 62 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 62 | 355 | 0 | 0 | 0 | 355 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 945 | 945 | 945 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 945
| 63 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 63 | 350 | 0 | 0 | 0 | 350 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 940 | 940 | 940 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 940
| 64 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 64 | 345 | 0 | 0 | 0 | 345 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 935 | 935 | 935 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 935
16 | 65 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  | 16 | 65 | 430 | 0 | 0 | 0 | 430 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1020 | 1020 | 1020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1020
| 66 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 66 | 450 | 0 | 0 | 0 | 450 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1040 | 1040 | 1040 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1040
| 67 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 67 | 460 | 0 | 0 | 0 | 460 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1050 | 1050 | 1050 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1050
| 68 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 68 | 460 | 0 | 0 | 0 | 460 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1050 | 1050 | 1050 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1050
17 | 69 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  | 17 | 69 | 460 | 0 | 0 | 0 | 460 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 610 | 1070 | 1070 | 1070 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1070
| 70 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 70 | 460 | 0 | 0 | 0 | 460 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 75 | 0 | 0 | 0 | 0 | 665 | 1125 | 1125 | 1125 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1125
| 71 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 71 | 460 | 0 | 0 | 0 | 460 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 90 | 0 | 0 | 0 | 0 | 680 | 1140 | 1140 | 1140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1140
| 72 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 72 | 460 | 0 | 0 | 0 | 460 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 80 | 0 | 0 | 0 | 0 | 670 | 1130 | 1130 | 1130 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1130
18 | 73 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  | 18 | 73 | 460 | 0 | 0 | 0 | 460 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 55 | 0 | 0 | 0 | 0 | 645 | 1105 | 1105 | 1105 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1105
| 74 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 74 | 460 | 0 | 0 | 0 | 460 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 40 | 0 | 0 | 0 | 0 | 630 | 1090 | 1090 | 1090 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1090
| 75 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 75 | 460 | 0 | 0 | 0 | 460 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 620 | 1080 | 1080 | 1080 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1080
| 76 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 76 | 460 | 0 | 0 | 0 | 460 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 605 | 1065 | 1065 | 1065 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1065
19 | 77 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  | 19 | 77 | 460 | 0 | 0 | 0 | 460 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1050 | 1050 | 1050 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1050
| 78 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 78 | 460 | 0 | 0 | 0 | 460 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1050 | 1050 | 1050 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1050
| 79 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 79 | 460 | 0 | 0 | 0 | 460 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1050 | 1050 | 1050 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1050
| 80 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 80 | 460 | 0 | 0 | 0 | 460 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1050 | 1050 | 1050 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1050
20 | 81 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  | 20 | 81 | 460 | 0 | 0 | 0 | 460 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1050 | 1050 | 1050 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1050
| 82 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 82 | 460 | 0 | 0 | 0 | 460 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1050 | 1050 | 1050 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1050
| 83 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 83 | 460 | 0 | 0 | 0 | 460 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1050 | 1050 | 1050 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1050
| 84 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 84 | 460 | 0 | 0 | 0 | 460 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1050 | 1050 | 1050 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1050
21 | 85 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  | 21 | 85 | 445 | 0 | 0 | 0 | 445 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1035 | 1035 | 1035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1035
| 86 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 86 | 420 | 0 | 0 | 0 | 420 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 1010 | 1010 | 1010 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1010
| 87 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 87 | 400 | 0 | 0 | 0 | 400 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 990 | 990 | 990 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 990
| 88 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 88 | 380 | 0 | 0 | 0 | 380 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 970 | 970 | 970 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 970
22 | 89 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  | 22 | 89 | 335 | 0 | 0 | 0 | 335 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 925 | 925 | 925 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 925
| 90 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 90 | 320 | 0 | 0 | 0 | 320 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 910 | 910 | 910 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 910
| 91 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 91 | 300 | 0 | 0 | 0 | 300 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 890 | 890 | 890 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 890
| 92 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 92 | 275 | 0 | 0 | 0 | 275 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 590 | 865 | 865 | 865 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 865
23 | 93 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  | 23 | 93 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 530 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 580 | 840 | 840 | 840 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 840
| 94 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 94 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 550 | 810 | 810 | 810 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 810
| 95 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 95 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 460 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 510 | 770 | 770 | 770 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 770
| 96 | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  |  | 96 | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 430 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 480 | 740 | 740 | 740 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 740
TOTAL MU |  | 11.04 | 11.04 | 5.28 | 5.28 | 3.12 | 3.12 | 0 | 0 | 19.44 | 19.44 | 0 | 0 | 0 |  | TOTAL MU |  | 8.4787 | 0 | 0 | 0 | 8.4787 | 0 | 0 | 0 | 0 | 0.36 | 0.84 | 11.1813 | 0 | 0 | 0 | 0.10125 | 0 | 0 | 0 | 0 | 12.4825 | 20.9612 | 20.9612 | 20.9612 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.9612
MAX IN MW |  | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  | MAX IN MW |  | 460 | 0 | 0 | 0 | 460 | 0 | 0 | 0 | 0 | 15 | 35 | 540 | 0 | 0 | 0 | 90 | 0 | 0 | 0 | 0 | 680 | 1140 | 1140 | 1140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1140
MIN IN MW |  | 460 | 460 | 220 | 220 | 130 | 130 | 0 | 0 | 810 | 810 | 0 | 0 | 0 |  | MIN IN MW |  | 260 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 15 | 35 | 260 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 310 | 570 | 570 | 570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 570
COAL STOCK DATA (IN MT) | [15 empty] | Import | [5 empty] | Trader |  | Route |  | Import |  |  |  |  | Trader |  | Route | [5 empty] | Import |  | Trader |  | Route |  | Export |  | Trader |  | Export |  | Trader |  | Export | Trader
Particular |  |  | Date | Budge-Budge |  |  | Titagarh |  |  | Southern |  |  | New-Cossipur |  |  | PP=M/s | [5 empty] | PP |  | WR-SR-ER |  | P=TPTCL |  |  |  |  | NVVNL |  | WR-ER | [5 empty] | R=M/s |  | NVVNL |  | WR-ER |  | A=M/s |  | NVVNL |  | C=M/S |  | C |  | E=M/s | E
|  |  |  | CIL | Captive source | Total | CIL | Captive source | Total | CIL | Captive source | Total | Linkage source | Captive source | Total | QQ=M/s | [5 empty] | QQ |  | SR-WR-ER |  | Q=M/s |  |  |  |  | NVVNL |  | NR-ER | [5 empty] | IEEx= |  | IEExchange |  |  |  | B=M/s |  | B |  | D=M/s |  | D |  | IEEx= | IEX
OPENING STOCK
COAL RECEIVED
COAL POSITION